# User Stories: AI Storm Overflow & Blockage Risk Advisor

## Epic 1: Data Ingestion & Foundation

Goal: Establish the data pipeline to ingest stubbed telemetry and forecast data.

- US-1.1: Ingest Rainfall Forecasts

  - As a System,

  - I want to ingest stubbed rainfall forecast data (CSV) for specific catchments,

  - So that I have the primary driver for storm overflow risk.

  - Acceptance Criteria: System reads rainfall.csv and parses timestamp/mm for a given catchment ID.

- US-1.2: Ingest Telemetry Data

  - As a System,

  - I want to ingest stubbed level and flow telemetry for CSOs and sewers,

  - So that I can monitor current network conditions.

  - Acceptance Criteria: System reads telemetry.csv and updates state for each asset_id.

- US-1.3: Ingest Asset Metadata

  - As a System,

  - I want to load metadata about asset sensitivity (e.g., near bathing waters),

  - So that I can prioritize risks based on environmental impact.

  - Acceptance Criteria: Risk scoring logic has access to sensitivity flags for each asset.

## Epic 2: Risk Analysis & Prediction

Goal: Implement the logic to detect and predict risks.

- US-2.1: Predict Spill Risk

  - As a Risk Engine,

  - I want to calculate the likelihood of a spill for the next 48 hours based on current levels and forecast rain,

  - So that I can flag high-risk CSOs before they spill.

  - Acceptance Criteria: Logic exists: If level > Threshold OR (level > High AND forecast_rain > X), flag as Risk.

- US-2.2: Detect Blockage Risk

  - As a Risk Engine,

  - I want to identify potential blockages (e.g., rising level with low flow) using simple rules,

  - So that I can warn operators of dry weather pollution incidents.

  - Acceptance Criteria: Logic exists: If level is rising AND flow is low/dropping, flag as Blockage Risk.

- US-2.3: Prioritize Risks

  - As a Control Room Operator,

  - I want the system to rank risks by criticality (Critical, High, Medium, Low),

  - So that I can focus on the most urgent problems first.

  - Acceptance Criteria: List is sorted by Risk Score (Severity + Sensitivity).

## Epic 3: Advisor Interface & Explanation

Goal: Provide an interactive, explainable interface for the user.

- US-3.1: View Risk Dashboard

  - As a Control Room Operator,

  - I want to see a list of high-risk assets for a specific catchment,

  - So that I have an immediate overview of network health.

  - Acceptance Criteria: UI displays table of assets with status and risk level.

- US-3.2: Get Natural Language Explanation

  - As a Control Room Operator,

  - I want to read a plain-English explanation of why an asset is at risk,

  - So that I can trust the AI's assessment without digging into raw data.

  - Acceptance Criteria: Selecting an asset shows an LLM-generated summary (e.g., "High risk due to heavy rain forecast + already high tank levels").

- US-3.3: Receive Recommended Actions

  - As a Network Analyst,

  - I want to see recommended interventions (e.g., "Inspect for blockage", "Optimize storage"),

  - So that I can take the right preventative action.

  - Acceptance Criteria: Advisor suggests 1-2 specific actions per high-risk asset.

## Epic 4: Action Management

Goal: Close the loop by generating actionable outputs.

- US-4.1: Generate Job Ticket Stub

  - As a Control Room Operator,

  - I want to generate a "Job Ticket" stub for a selected recommendation,

  - So that I can seamlessly pass the work to the field team.

  - Acceptance Criteria: Button click creates a JSON/Text object representing a Work Order with correct details.